Instructions

µ–Dish 35mm,highGlassBottomGrid–500

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeende-

signedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.

Theglassbottomversionsoftheµ–Slidesandµ–DishesareespeciallydesignedforTIRFandsingle

moleculeapplications.  Theµ–Dish 35mm,highGlassBottomGrid–500allowsyoutoperformhighres-

olutionmicroscopyina35mmPetri–dishwith12mmwalls.      Thestandardheightallowsconvenient

liquidhandling.Thelidcanbeclosedtohinderevaporationduringlongtermexperiments.

TheGrid–500isagridstructureforrelocatingevents.    Itprovides400distinguishableobservationsquaresof500µmedge

length. ThegridisclearlyvisiblebyphasecontrastmicroscopyandbasedonthehighqualityibidiStandardBottom.        The

Material

Attention!

Theµ–Dish 35mm,highGlassBottomGrid–500ismadeofa

Be cautious when handling µ–Slides and µ–Dishes

with glass bottom! The glass coverslip is very frag-

standardµ–Dish35mm,high  butwithaglasscoverslipbot-

tom.Itisnotpossibletodetachthebottom.Theµ–Dishes

ileandmightbreakeasily.  Handlewithcaretoavoid

arenotautoclavablesincetheyaretemperaturestableonly

physicalinjuryanddamagetodevicesthroughleak-

upto80°C/175°F.

ageofthemedium.

OpticalPropertiesibidiGlassBottom

RefractiveindexnD

Abbenumber

Thickness

1.523

55

CharacteristicsoftheGrid

No.1.5H(selectedquality

170µm,±5µm)

TheGrid–500ismadeofsmallgroovesthatareimprinted

intoamicroscopycoverslip.Thestructureisimprintedon

thesideonwhichcellsaregrowing.   Cellsandgridarein

onefocalplane.Thereisnoreportedeffectoncellgrowth,

coatingprotocols,orsurfaceproperties.   Proliferationand

cellbehavioriscomparabletostandardnon–griddedglass

coverslips.Washingsteps(e.g.withPBS)beforecellseed-

ingcanremoveglassdustwhichisadvantageousfordirect

cellgrowthonthesurface.

Material

Schottborosilicateglass,

D263M

ShippingandStorage

Thegroovesare20µm(±5µm)wideandapproximately

5 µm deep. Cells can grow in the grooves as well. We

recommendusingobjectivelensesupto20×.Anyhow,the

opticalqualitymeetstherequirementsof63×and100×oil

objectivelensesaswell(glasscoverslipbottom,No.1.5H).

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

36months

18months

4months

Collagen,Poly-Lysine

Fibronectin

µ–Dish35mm,highGlassBottomGrid–500

Page1

Version2015-05-12

Instructions

µ–Dish 35mm,highGlassBottomGrid–500

GeometryoftheGrid–500

GeometryoftheGrid–500

Numberofsquares

Repeatdistance

Groovewidth

400

500µm

20µm(±5µm)

<5µm

Groovedepth

UsingTheLid

1. openposition,easyopening

2. closeposition,forlongtermstudies,minimalevap-

oration

SurfaceandCoating

Theµ–Dish 35mm,high GlassBottomGrid–500ismanufac-

tured with an uncoated glass coverslip. Washing steps

(e.g. withPBS)beforecellseedingcanremoveglassdust

whichisadvantageousfordirectcellgrowthonthesur-

face.

Protein coatings increase direct cell growth of adherent

cells.Speciﬁccoatingsonglassarepossiblefollowingthis

protocol:

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

µ–Dish.Adjusttheconcentrationtoacoatingareaof

4.2cm2and400µl.

• Apply400µlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Dish.   Putonthelidandleaveat

roomtemperatureforatleast30minutes.

Microscopicimagesofthegrid.   Left: 4xobjective

lensbrightﬁeldwithoutcells.   Right: 10xobjective

lensphasecontrastwithratﬁbroblastcells.

• Aspiratethesolutionandwash.   Optionally,letdry

atroomtemperature.

Thefourmajorsquaresareseparatedin10×10observa-

tionﬁeldsandindicatedbylettersandnumbersranging

from:

DetailedinformationaboutcoatingsisprovidedinAppli-

cationNote08

• AtoK(Jnotused)and1to10

• AtoK(Jnotused)and11to20

• LtoUand1to10

• LtoUand11to20

µ–Dish35mm,highGlassBottomGrid–500

Page2

Version2015-05-12

Instructions

µ–Dish 35mm,highGlassBottomGrid–500

SeedingCells

PreparationforCellMicroscopy

Toanalyzeyourcellsnospecialpreparationsarenecessary.

Cellscanbeobservedliveorﬁxeddirectlyintheµ–Dish

preferably on an inverted microscope. You can use any

ﬁxativeofyourchoice.Theµ–Dishmaterialiscompatible

withavarietyofchemicals,e.g.AcetoneorMethanol.Fur-

therspeciﬁcationscanbefoundatDueto

thethinbottomhighresolutionmicroscopyispossible.

Depending on your cell type, application of a 4–9 ×

104cells/mlsuspensionshouldresultinaconﬂuentlayer

within2–3days.

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.

• Apply400µlcellsuspensionintotheinnerwellof

theµ–Dish.Avoidshakingasthiswillresultininho-

mogeneousdistributionofthecells.

For optimal results in ﬂuorescence microscopy and stor-

ageofstainedprobes,ibidiprovidesamountingmedium

optimized for µ–Dishes and µ–Slides (ibidi Mounting

Medium,50001).

• Aftercellattachmentaddadditionally1.6mlofpure

mediumtoensureoptimalgrowconditions.

MinimizingEvaporation

• Covertheµ–Dishwiththesuppliedlid.   Incubateat

37°Cand5%CO2asusual.

Usingtheµ–Dishwithaclosedlid,theevaporationinan

incubatorsystemwith37°Cand95%humidityisaround

1%perday.  Usingtheµ–Dishwithaclosedlidina37°C

heating system with low humidity (between 20% and

40%),theevaporationisaround10%perday.     Forreduc-

ingtheevaporationdownto1%perdayinallsystems,we

recommend sealing the lid with ibidi Anti–Evaporation

Oil(50051).

Werecommendnottoﬁllmorethantheindicatedtotal

volumeintotheµ–Dish35mm,highGlassBottomGrid–500

inordertoavoidtheliquidcontactingthelid.

Undemandingcellscanbeleftintheirseedingmediumfor

severaldaysandgrowtoconﬂuencethere.However,best

resultsareachievedwhenthemediumischangedevery

2–3days. Carefullyaspiratetheoldmediumandreplace

itbyupto2mlfreshmedium.

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

Tip:

Youcanstacktheµ–Dishestosavespaceinyourincu-

bator.Thiswillnotaffectcellgrowth.Werecommend

making batches with up to 6 µ–Dishes, due to sta-

bilityreasons. Placingtheµ–DishesintolargerPetri

dishessimpliﬁestransportandpreventsevaporation,

heat loss, and contamination when the incubator is

opened.

Company

Product

OrderingNumber

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

µ–Dish35mm,highGlassBottomGrid–500

Page3

Version2015-05-12

Instructions

µ–Dish 35mm,highGlassBottomGrid–500

µ–Dish 35mmGridFamily

µ–Dish35mm,highGrid-500

Cat.No.

Description

Characteristics

81166

µ–Dish 35mm,high ibiTreat Grid-500:  35mm, high wall (2ml  hydrophilic,sterilized

volume),#1.5polymercoverslip,tissueculturetreated,gridre-

peatdistance500µm

81161

µ–Dish 35mm,highUncoatedGrid-500:  35mm,highwall(2ml    hydrophobic,sterilized

volume),#1.5polymercoverslip,gridrepeatdistance500µm

µ–Dish35mm,lowGrid-500

Cat.No.

Description

Characteristics

80156

µ–Dish 35mm,low ibiTreatGrid-500: 35mm,highwall(800µl     hydrophilic,sterilized

volume),#1.5polymercoverslip,tissueculturetreated,gridre-

peatdistance500µm

80151

µ–Dish35mm,lowUncoatedGrid-500:35mm,highwall(800µl      hydrophobic,sterilized

volume),#1.5polymercoverslip,gridrepeatdistance500µm

µ–Dish35mm,highGlassBottomGrid–500

Cat.No.

Description

Characteristics

81168

µ–Dish 35mm,high GlassBottomGrid–500:  35mm,highwall

sterilized

(2mlvolume),#1.5H(170±5µm)D263MSchottglass,gridre-

peatdistance500µm

µ–Dish35mm,highGlassBottomGrid–50

Cat.No.

Description

Characteristics

81148

µ–Dish 35mm,high Glass Bottom Grid–50:  35mm, high wall

sterilized

(2mlvolume),#1.5H(170±5µm)D263MSchottglass,gridre-

peatdistance50µm

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Dish35mm,highGlassBottomGrid–500

Page4

Version2015-05-12