Application Note 23

3D Chemotaxis Protocol with Collagen I Gel for

Dendritic Cells

1.  General information

This  is  a  specialized  protocol   for  analyzing  chemotaxis  of  murine  dendritic  cells

embedded  in  a  3D  collagen  matrix.  More  general  information  is  provided  in  the

3D

Application Note 17 “3D Chemotaxis Assays using μ-Slide Chemotaxis    “.

2.  Equipment needed

For this protocol the following equipment and instruments are necessary:

    Cell culture incubator (high humidity, 37 °C, 5 % CO2)

    Inverted microscope with 10x objective lens (phase contrast) and time lapse

function

    Stage top incubator (37 °C, 5 % CO2)

    Optional: Motorized stage and autofocus (x,y,z) to observe all 3 chambers in

parallel.

    Computer  with   ImageJ  plugin   “Manual   Tracking”  and   “Chemotaxis  and

Migration Tool” from ibidi.

3.  Cell culture of dendritic cells

One day before experiment:

    To  inhibit  the  development  of  bubbles  degas  your  slides  and  media  in  an

incubator (37 °C) for 24 h.

    Dendritic cells (on day 8 – 10) are activated over night with 200 ng/ml LPS (in

cell culture medium as described in table 1).

Reagent/Material

Concentration

Company

Order No.

Cell culture

Dendritic cells (murine)

RPMI 1640

FCS

-

1x

Self-prep*

Invitrogen

Invitrogen

PAA

-

31870025

10270106

M11-004

P11-010

315-03

10%

L-Glutamin

5%

Penicillin/Streptomycin

GM-CSF

5%

PAA

10-20 ng/ml*

200 ng/ml

Peprotech

Sigma-Aldrich

Cell activation

LPS

L4516

Table 1. Material and reagents needed for cell culture of dendritic cells.

* as published in:

Lutz, M. B. et al. An advanced culture method for generating large quantities of highly pure dendritic

cells from mouse bone marrow. J. Immunol. Methods 223, 77–92 (1999)

Application Note 23

© ibidi GmbH, Version 1.0, Julia Riedl, July 12

th

2010

Page 1 of 6

Application Note 23

4.  Gel preparation, Collagen I, bovine, 1.6 mg/ml

The following reagents and material is necessary for the chemotaxis experiment

with dendritic cells:

Reagent/Material

Concentration

Company

Order No.

Cells

Dendritic cells (murine)

Collagen I, bovine

NaHCO3

9 x 10

6

c/ml

Self-prep

Nutacon

-

Gel preparation

3 mg/ml

7.5 %

10x

5005-B

S8761

Sigma-Aldrich

Sigma-Aldrich

R&D Systems

ibidi

10x MEM

M-0275

361-MI-025

80326

Chemoattractant

CCL19

1.25μg/ml

-

μ-Slide

μ-Slide Chemotaxis 3D

Table 2. Material and reagents needed for chemotaxis experiment with dendritic cells.

Vtotal = 270μl

No.

1

Component

10x MEM

Amount

20μl

2

NaHCO3

10μl

3

4

Collagen I, bovine

Cell suspension

∑

150μl

90μl

270μl

Table 3. Preparation of a 1.6 mg/ml gel

1.  Prepare a cell suspension of 9 x 10     cells/ml in the

6

cell culture medium mentioned in table 1.

2.  Carefully mix the components 1 and 2 in a 1.5 ml

tube avoiding air bubbles.

3.  Prepare 150 μl collagen (component 3) in a 1.5 ml

tube.

4.  Transfer  the  30 μl   mix  of  Nr.  2  into  the  collagen

tube. Use a 200 μl pipet tip for immediate mixing of

a larger volume (see A).

5.  Mix  well,  but  carefully  (see  B).  It  is  important  to

avoid air bubbles during mixing!

6.  Add 90 μl of the cell suspension (Nr. 1) into the mix

(see C).

7.  Mix  well,  but  carefully  (see  D).  It  is  important  to

avoid air bubbles during mixing!

Application Note 23

© ibidi GmbH, Version 1.0, Julia Riedl, July 12

th

2010

Page 2 of 6

Application Note 23

8.  Immediately after that fill the mix into the channels

as described in Application Note 17.

9.  Place the slide into the incubator for 30 – 35 min for

gelation. After that collagen fibers become visible.

Notes:

    Let bubbles in the pipette ascend to the top of the

solution before pipetting into the slide.

    Avoid  bubbles   in   your   gel.   They   may   destroy

collagen-fibers, influence time-lapse recordings and

optical  properties  of  the  gel.  Don’t  use  a  vortex

mixer.

    After making the collagen-mix, there are ca. 5 min

left to pipette the gel before gelation starts.

    In  case  of  pipetting  after  gelation,  big  damages  in

collagen-fibers must be expected.

    A color change will be observed (indicator turns into

pink)    when    10xMEM    is    added     to    sodium

bicarbonate   -    this   is    not   the    final   chemical

equilibrium.   Thus,   the  mixture   must   be   mixed

gently, while adding to collagen.

5.  Chemotaxis experiment

Chemoattractant: CCL19 (1.25 μg/ml in RPMI 1640 / 10%FCS)

Chemoattractant-free medium: RPMI 1640, 10% FCS

1.  After gelation of the gel, fill up the reservoirs with

either   chemoattractant-free    or   chemoattractant-

containing medium.

2.  For  the  chemotaxis  experiment  itself  (+/-)  fill  one

reservoir   with   60  μl   chemoattractant-containing

medium and the other with 60 μl chemoattractant-

free medium.

3.  For a control experiment (-/-) fill both reservoirs with

60 μl chemoattractant-free medium.

4.  Close  the  slide  according  to  Application  Note  17.

The slide is now ready for video microscopy.

5.  Put the slide into the stage top incubator.

6.  Focus into the center of the gel and acquire images

for 4 hours with a time lapse interval of 2 min.

Application Note 23

© ibidi GmbH, Version 1.0, Julia Riedl, July 12

th

2010

Page 3 of 6

Application Note 23

Observation in the micrsocope: Because of the 3D environment, not all cells will be

perfectly in focus depending on the used objective.

200μm

CCL19 gradient

Figure 1. Bright-field image during time-lapse microscopy 1 hour after experimental set-up.

6.  Manual cell tracking

1.  After the experiment, track the cells with appropriate software. We suggest

e.g. Manual Tracking, an ImageJ plugin able to quantify movement of objects

between frames of a temporal stack.

2.  ImageJ is available here: http://rsb.info.nih.gov/ij/

3.  The  Manual   Tracking  plug-in  (including  a  pdf   documentation)  by  Fabrice

Cordelières, Institut Curie, Orsay, France is available here:

http://rsbweb.nih.gov/ij/plugins/track/track.html

4.  Download Manual_Tracking.class into the plugins folder of ImageJ on your

computer and restart ImageJ. Make sure you have administrator rights.

5.  Quick guide for tracking with Manual Tracking:

  Import  movie  as  single  page  .tif  files  by

using „File/Import/Image_Sequence”.

  Open plugin “Manual Tracking”.

  Select “Add track”.

  Follow the first cell over all time points by

clicking  on   it.  After   the  first   click  the

software  creates  the  results  table  in  an

extra window. This table is filled with the

x/y data of each cell at each point of time.

  Save   the   data   table   after   tracking   is

complete.

Application Note 23

© ibidi GmbH, Version 1.0, Julia Riedl, July 12

th

2010

Page 4 of 6

Application Note 23

6.  The  data  table  contains  all  tracked  cells  (=tracks)  and  time  points  (=slices)

with (x,y) positions.

7.  Track  cells  uniformly  in  order  to  ensure  homogeneity.  Avoid  tracking  the

same cell twice. At least 30 cells need to be tracked for statistical reasons.

Some  cells  will  be  lost  through  cell  death.  Do  not  use  such  cells  for  data

analysis.

8.  Optionally, export “Overlay dots & lines” as .avi.

7.  Data evaluation with the Chemotaxis and Migration Tool:

The Chemotaxis and Migration plugin for ImageJ is available here:

http://www.ibidi.de/applications/ap_chemo.html

For  data  interpretation  the  Forward  Migration  Indices*  (FMIs)  of  the  chemotaxis

experiment and the control experiment are compared. In case of chemotaxis all FMI

components  of  the  control  experiments  (-/-)  and  the  perpendicular  FMI   of  the

┴

chemotaxis experiment (+/-) should be around 0. Value of FMI      of the chemotaxis

║

experiment (+/-) significantly different from 0 represent a chemotaxis effect.

Additionally, the p-values of the Rayleigh test** of all experiments are compared to

judge  for  homogeneous  angular  distributions  of the cell endpoint  with  respect  to

origin. p-values larger p = 0.05 indicate an homogeneous cell endpoint distribution

and, therefore, non-directed migration.

Moreover, migration parameters such as directness    and  velocity  can  be  used  for

analysis.

*Foxman  et   al.  Integrating   conflicting  chemotactic  signals.   The  role   of  memory  in   leukocyte

navigation, J Cell Biol147,  577-588 (1999)

**Fisher, N. I. Statistical Analysis of Circular Data, Cambridge University Press, New York (1993)

Results:

Chemotaxis experiment (+/-) (n = 40 cells)

FMI

FMI

║

-0.646586

0.0656136

0.66121

┴

Directness

Velocity (μm/min) ± SD     2.87924 ± 1.13038

p-value (Rayleigh test)

8.87631 x 10

-16

Directed migration towards chemoattractant

Application Note 23

© ibidi GmbH, Version 1.0, Julia Riedl, July 12

th

2010

Page 5 of 6

Application Note 23

Control experiment (-/-) (n = 50 cells)

FMI

║

0.00371511

0.0493364

FMI┴

Directness

0.153527

Velocity (μm/min) ± SD     2.39685 ± 0.956164

p-value (Rayleigh test)

0.680899

 Non-directed migration

8.  Notes:

    Lower magnification objectives (4 x - 10 x) provide a larger depth of focus and

are therefore advantageous.

    Automated cell tracking:

The company Wimasis is developing a solution for automated cell tracking of

phase contrast image stacks. More information on automated cell tracking is

available here www.wimasis.com.

Application Note 23

© ibidi GmbH, Version 1.0, Julia Riedl, July 12

th

2010

Page 6 of 6