Instructions

µ–Slide8WellGrid–500

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveall

been designed for high–end microscopic analysis of ﬁxed or living cells. The high optical

qualityofthematerialissimilartothatofglass,soyoucanperformallkindsofﬂuorescence

experimentswithuncompromisedresolutionandchoiceofwavelength.

The µ–Slide 8 Well is an array of 8 square ﬁelds where cells can be cultivated and, subse-

quently,investigatedwithmicroscopicalmethods.   Itisintendedfortheoptimizationofex-

perimentalparameterslikeantibodydilution,seedingdensity,orthemosteffectivedrugconcentration.

TheGrid–500isagridstructureforrelocatingevents.    Itprovides100distinguishableobservationsquaresof500µmedge

length. ThegridisclearlyvisiblebyphasecontrastmicroscopyandbasedonthehighqualityibidiStandardBottom.        The

outerdimensionsandotherparametersareidenticaltoibidiµ–Slide8Well.

Material

ShelfLifeofDifferentSurfaces

ibiTreat,GlassBottom,ESS

Collagen,Poly-Lysine

Fibronectin

36months

18months

4months

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the polymer cover-

slip,whichshouldnotbecovered.

CharacteristicsoftheGrid

OpticalPropertiesibidiStandardBottom

TheGrid–500ismadeofsmalldotsinsidetheibidiplastic

surfaceofibidiµ–Slide8Wells.Thestructureisimprinted

onthesideonwhichcellsaregrowinganddoesnoteffect

cellgrowth,coatingprotocols,orsurfaceproperties.    Pro-

liferation and cell behavior is comparable with standard

non–griddedslides. Cellsandgridareinonefocalplane.

Pleasealsorefertotheinstructionsofibidiµ–Slidesforin-

formationonsurfaces,coatings,andcellseeding.

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Thickness

No.1.5(180µm)

Material

microscopyplastic/

polymercoverslip

Please note! The ibidi Standard Bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage3.

Thegridismadeofdotsforminggrooves,whichare5µm

(±1µm) wide and approximately 5µm deep. Cells can

grow in the grooves as well. We recommend using ob-

jectivelensesupto20×.Anyhow,theopticalqualitymeets

the requirements of 63× and 100× oil objective lenses as

well(ibidiStandardBottom,No.1.5).

ShippingandStorage

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

µ–Slide8WellGrid–500

Page1

Version2015-08-06

Instructions

µ–Slide8WellGrid–500

GeometryoftheGrid–500

SurfaceandCoating

Theµ–Slide8WellGrid–500isavailablewithibiTreatand

uncoatedsurface. TheibiTreatsurfaceisaphysicaltreat-

mentandoptimizedforadhesionofmostcelltypes.Many

celllinesaswellasprimarycellsweretestedforgoodcell

growth. Theuncoatedsurfaceisaveryhydrophobicsur-

faceandallowsnodirectcellgrowth.Itissuitableforspe-

ciﬁccoatingsorsuspensioncells.

GeometryoftheGrid–500

Numberofviewﬁelds

100

Repeatdistance

Groovewidth

Groovedepth

500µm

5µm(±1µm)

< 5µm

If you like to establish a particular coating for your de-

mandswerecommendtotestyourcoatingprocedureon

uncoatedandibiTreatµ–Slides,  sincesomebiomolecules

adhere differently to hydrophobic or hydrophilic plastic

surfaces.

Thesquaresarecentredinthewellsandindicatedbylet-

tersandnumbersrangingfromAtoK(Jnotused)and1

to10.

• Prepareyourcoatingsolutionaccordingtotheman-

ufacturer’sspeciﬁcationsorreference.  Prepareyour

µ–Slide,ibiTreatoruncoated.  Adjusttheconcentra-

tiontoacoatingareaof2.2cm2and300µl.

• Apply300µlintothegrowtharea.    Makesurethat

theentirebottomiscoveredwithliquideasilytilting

orshakingtheµ–Slide.   Putonthelidandleaveat

roomtemperatureforatleast30minutes.

• Aspiratethesolutionandwash.   Optionally,letdry

atroomtemperature.

DetailedinformationaboutcoatingsisprovidedinAppli-

cationNote08

Seedingcells

• Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,applicationofa5-11×104cells/ml

suspensionshouldresultinaconﬂuentlayerwithin

2–3days.

• Apply300µlcellsuspensionintoeachwelloftheµ–

Slide.Avoidshakingasthiswillresultininhomoge-

neousdistributionofthecells.

• Cover the slide with the supplied lid. Incubate at

37°Cand5%CO2asusual.

Undemanding cells can be left in their seeding medium

foruptothreedaysandgrowtoconﬂuencethere.     How-

ever, best results might be achieved when the medium

is changed every 1–2 days. Carefully aspirate the old

mediumandreplaceitby300µl/wellfreshmedium.

µ–Slide8WellGrid–500

Page2

Version2015-08-06

Instructions

µ–Slide8WellGrid–500

avarietyofchemicals,e.g.,acetoneormethanol.    Further

speciﬁcationscanbefoundatDuetothe

thinbottomofonly180µm,highresolutionmicroscopyis

possible.

Tip:

Asyoumayknowfrom96wellplates,thebentmenis-

cus at the air–liquid interphase in small open wells

destroysthephasecontrasteffectofyourmicroscope

image. Toavoidthisproblem,werecommendusing

ImmersionOil

ourchannelSlidessuchastheµ–SlidesILuerandµ–

SlideVI0.4oraPh+Slide.

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

PreparationforCellMicroscopy

Company

Product

OrderingNumber

To analyze your cells, no special preparations are neces-

sary.Cellscanbeobservedlive,orﬁxeddirectlyintheµ–

Slideonaninvertedmicroscope.  Youcanuseanyﬁxative

of your choice. The µ–Slide material is compatible with

Zeiss

Zeiss

Leica

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

µ–Slide8WellGrid–500

Page3

Version2015-08-06

Instructions

µ–Slide8WellGrid–500

OrderingInformation

Theµ–Slide8WellfamilycomprisesSlideswithdifferentsurfacesandbottomcharacteristics.Seetablebelowforchoosing

yourµ–Slide8Well.

µ–Slide8Well

Cat.No.

Description

80826

80822

80823

80824

80825

80821

µ–Slide8WellibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–Slide8WellCollagenIV:#1.5polymercoverslip,sterilized

µ–Slide8WellFibronectin:#1.5polymercoverslip,sterilized∗

µ–Slide8WellPoly-L-Lysine:#1.5polymercoverslip,sterilized

µ–Slide8WellPoly-D-Lysine:#1.5polymercoverslip,sterilized∗

µ–Slide8WellUncoated:#1.5polymercoverslip,hydrophobic,sterilized

∗availableonrequestonly

µ–Slide8WellGlassBottom

Cat.No.

Description

80827

µ–Slide8WellGlassBottom:1.5H(170µm±5µm)D263MSchottglass,sterilized

µ–Slide8WellGrid–500

Cat.No.

Description

80826-G500

µ–Slide 8 Well ibiTreat Grid–500: #1.5 polymer coverslip, tissue culture treated,

gridrepeatdistance500µm,sterilized

80821-G500

µ–Slide8WellUncoatedGrid–500:   #1.5polymercoverslip,hydrophobic,gridre-

peatdistance500µm,sterilized

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–Slide8WellGrid–500

Page4

Version2015-08-06