Instructions

µ–SlideAngiogenesis

Theibidiproductfamilyiscomprisedofavarietyofµ–Slidesandµ–Dishes,whichhaveallbeen

designedforhigh–endmicroscopicanalysisofﬁxedorlivingcells.     Thehighopticalqualityof

thematerialissimilartothatofglass,soyoucanperformallkindsofﬂuorescenceexperiments

withuncompromisedresolutionandchoiceofwavelength.

Theµ–SlideAngiogenesisisacellcultureproductforangiogenesisassaysanddirectcellcul-

ture. Cellscanbegrownongelmatrices,e.g.    collagengels,hyaluronicgelsorBDMatrigelTM

(Becton–Dickinson)ordirectlyontheibidiStandardBottom.

Material

Geometry

ibidiµ–Slides,µ–Dishes,andµ–Platesaremadeofaplas-

tic that has the highest optical quality. The bottom ma-

terial exhibits extremely low birefringence and autoﬂuo-

rescence, similar to that of glass. Also, it is not possible

todetachthebottomfromtheupperpart.     Theµ–Slides,

µ–Dishes, and µ–Plates are not autoclavable, since they

areonlytemperature–stableupto80°C/175°F.Pleasenote

that gas exchange between the medium and incubator’s

atmosphere occurs partially through the polymer cover-

slip,whichshouldnotbecovered.

Theµ–SlideAngiogenesisprovidesstandardslideformat

accordingtoISO8037/1.Thewelltowelldistanceof9mm

(like96wellplates)allowsusingmultichannelpipettes.

Geometryoftheµ–SlideAngiogenesis

Numberofwells

15

Volumeinnerwell

Diameterinnerwell

Depthinnerwell

Volumeupperwell

Diameterupperwell

Growthareainnerwell

Coatingareausing10µl

Bottom

10µl

4mm

0.8mm

50µl

OpticalPropertiesibidiStandardBottom

5mm

0.125cm2

0.23cm2

RefractiveindexnD(589nm)

Abbenumber

1.52

56

Thickness

No.1.5(180µm)

ibidiStandardBottom

Material

microscopyplastic/

polymercoverslip

Please note! The ibidi standard bottom is compatible

withcertaintypesofimmersionoilonly.    Alistofsuit-

ableoilscanbefoundonpage3.

ShippingandStorage

The µ–Slides, µ–Dishes and µ–Plates are sterilized and

weldedinagas-permeablepackaging.Theshelflifeunder

proper storage conditions (in a dry place, no direct sun-

light)islistedinthefollowingtable.

Surfaces

The µ–Slide Angiogenesis is available with ibiTreat and

the uncoated surface. The ibiTreat surface is a physical

treatmentandoptimizedforadhesionofmostcelltypes.

Many cell lines as well as primary cells were tested for

goodcellgrowth.Uncoatedisaveryhydrophobicsurface

andallowsnodirectcellgrowth.

Conditions

Shippingconditions

Storageconditions

Ambient

RT(15-25°C)

ShelfLifeofDifferentSurfaces

ibiTreat,glassbottom,ESS

36months

18months

4months

Aspeciﬁccoatingoftheµ–SlideAngiogenesiscanbedone

yourselffollowingtheprocedureinsection”Coating”.

Collagen,Poly-Lysine

Fibronectin

µ–SlideAngiogenesis

Page1

Version2014-08-25

Instructions

µ–SlideAngiogenesis

Coating

Furtherinformationabouttheoptimizationofexperimen-

talparametersanddataanalysisisprovidedin

Theuncoatedµ–Slidemustbecoatedtopromotecellad-

hesion.Ifyouwanttoestablishacertaincoatingtomatch

your needs, we recommend testing your coating proce-

dure on both uncoated and ibiTreat µ–Slides, since we

haveobservedthatsomebiomoleculesadheredifferently

tohydrophobicandhydrophilicplasticsurfaces.

Tip:

Airbubblesinthegelcanbereducedbyequilibrat-

ingtheµ–SlideAngiogenesisbeforeusageinsidethe

incubatorovernight.

In tube formation assays the µ–Slide Angiogenesis is

coatedwitha0.8mmthicklayerofgelmatrix.

1. Prepare your gel matrix according to the manufac-

turer’sprotocolorreference.

2. Fill the inner well with 10 µl liquid gel. Avoid air

bubbles.

Tip:

Forlessevaporationthespacein–betweenthewells

can be ﬁlled with sterile water or agarose.

agarosetowaterorbuffersolution(e.g.0.1gto10ml

water). Meltagarosesolutionusingamicrowaveor

boiling water bath and allow the solution to cool to

∼50°C.

3. Letthegelpolymerizeunderappropriateconditions.

4. Useassoonaspossible.

Add

5. If storage is needed ﬁll sterile water around the

wellstogenerateahumidiﬁedenvironmenttohin-

derevaporation.

Non-gelbasedcoatingsarealsopossible.   Pleaseuse10µl

coatingsolutionandcalculatewithanareatobecoatedof

0.23cm2 perwell.  Furtherinformationaboutcoatingsis

Tip:

providedin

Incasebentgelsurfacesarecreated,    increaseorde-

creasetheamountofgelused,untilyougetﬂatand

evengels.

SeedingCells

In a tube formation assay cells are seeded on top of the

polymerizedgelmatrix:

ExperimentalSetups

Alternatively,theµ–SlideAngiogenesiscanbeusedforthe

followingassays:

• Culturecellswithoutagelmatrixdirectlyinthemi-

norwells.

1. Trypsinizeandcountcellsasusual.    Dilutethecell

suspensiontothedesiredconcentration.Depending

onyourcelltype,werecommend1–3×105cells/ml.

2. Apply 50µl of the cell suspension into the upper

well.Donottouchthegelmatrixwiththepipettip.

• Filltheinnerwellwithcellssuspendedinsideagel

matrix. Aftergelpolymerization,add50µlcell–free

mediumtoﬁlltheupperwell.

3. Cover the µ–Slide Angiogenesis with the supplied

lid.Incubateat37°Cand5%CO2asusual.

4. Conductyourexperiment.

5. Depending on the cell type, medium exchange is

necessaryevery1–2days.  Carefullyaspiratetheold

mediumandreplaceitby50µlfreshmedium.

Foradetailedprotocolpleasereferto

and

• Fill the inner well with a gel matrix and culture

piecesoftissueorcellspheroidsonit.

µ–SlideAngiogenesis

Page2

Version2014-08-25

Instructions

µ–SlideAngiogenesis

PreparationforCellMicroscopy

Whengelmatricesareusedtheopticalqualityandtheuse

ofhighmagniﬁcationobjectivelensesmightberestricted.

Withoutanygelcellscanbeobservedliveorﬁxeddirectly

inthewellsonaninvertedmicroscope.    Youcanuseany

ﬁxativeofyourchoice.  Theplasticmaterialiscompatible

withavarietyofchemicals,e.g.AcetoneorMethanol.Fur-

ther speciﬁcations can be found at  Due

to the thin bottom of only 180 µm, high resolution mi-

croscopyispossible.

• SandwichCellCulture:Filltheinnerwellwithagel

matrix.Seedcellsontopofthepolymerizedgeland

imbedthecellswith50µlgelintheupperwell.

• Filltheinnerwellwithalowvolumeofthegelma-

trix,e.g. 8µl.  Seedcellsontopofthepolymerized

gel. Ifnecessarygentlyshaketheslidetomakethe

cellsslideintothemiddleofthewell.

ImmersionOil

When using oil immersion objectives, use only the im-

mersion oils speciﬁed in the table. The use of a non–

recommendedoilcouldleadtothedamageoftheplastic

materialandtheobjective.

• Filltheinnerwellwithﬁbroblastssuspendedinside

agelmatrix.Seedcellsontopofthepolymerizedgel.

Overlaythecelllayerwithmediumandincubatefor

invasionofthecellsintothegelmatrix.

Company

Product

OrderingNumber

ibidi

Zeiss

Zeiss

Leica

ImmersionOil

(ibidi)50101

Immersol518F

ImmersolW2010

Immersionliquid

(Zeiss)444960

(Zeiss)444969

(Leica)11513859

References

P.S.Chen,Y.W.Shih,H.C.Huang,andH.W.Cheng.       Diosgenin,aSteroidalSaponin,InhibitsMigrationandInvasion

ofHumanProstateCancerPC-3CellsbyReducingMatrixMetalloproteinasesExpression.     PLoSONE,2011.  doi:10.1371/

journal.pone.0020164.

J.Searle,M.Mockel,S.Gwosc,S.A.Datwyler,F.Qadri,G.I.Albert,F.Holert,A.Isbruch,L.Klug,andD.N.Muller.Heparin

StronglyInducesSolublefms-LikeTyrosineKinase1ReleaseInVivoandInVitro.      Arteriosclerosis,Thrombosis,andVascular

Biology,2011.doi:10.1161ATVBAHA111.237784.

E. Vo, D. Hanjaya-Putra, Y. Zha, S. Kusuma, and S. Gerecht.  Smooth-Muscle-Like Cells Derived from Human Em-

bryonic Stem Cells Support and Augment Cord-Like Structures In Vitro.  Stem Cell Reviews and Reports , 2010.

doi:

10.1007/s12015-010-9144-3.

µ–SlideAngiogenesis

Page3

Version2014-08-25

Instructions

µ–SlideAngiogenesis

µ–SlideAngiogenesisFamily

Theµ–SlideAngiogenesisfamilyisavailablewithdifferentsurfacesandformats.Seetablebelowforchoosingyourµ–Slide

andµ–PlateAngiogenesis,respectively.

µ–SlideAngiogenesis

Cat.No.

Description

81506

81501

81531

µ–SlideAngiogenesisibiTreat:#1.5polymercoverslip,tissueculturetreated,sterilized

µ–SlideAngiogenesisuncoated:#1.5polymercoverslip,hydrophobic,sterilized

µ–SlideAngiogenesisMicrodissection:PEN-membrane∗ ,sterilized

∗ThePENfoildoesnotﬁttostandardcoverslipthickness.

µ–PlateAngiogenesis96well

Cat.No.

Description

89646

µ–PlateAngiogenesis96wellibiTreat:   #1.5polymercoverslip,  tissueculturetreated,

sterilized

Forresearchuseonly!

FurthertechnicalspeciﬁcationscanbefoundatForquestionsandsuggestionspleasecontactusbye-mailinfo@ibidi.de

orbytelephone+49(0)89/52046170.AllproductsaredevelopedandproducedinGermany.

©ibidiGmbH,AmKlopferspitz19,82152Martinsried,Germany.

µ–SlideAngiogenesis

Page4

Version2014-08-25