IMPORTANT  HANDLING  INFORMATION

For ibidi Heating System, Multi-Well Plates

READ THIS BEFORE USE

Read this information sheet, in its entirety,  BEFORE working

with the ibidi Heating System for Multi-Well Plates.

The manual should also be read before using the instrument.

Heated Glass (Lid)

60x

Heated Glass Bottom

CAUTION

The glass bottom of the heated plate may break due to a mechanical impact. Avoid

contact between the glass bottom and the objective lens. Changing objective lenses

may automatically lead to a collision between the objective lens and the glass bottom.

Note: Never use an objective lens with a working distance smaller than 1 mm.

CAUTION

If the glass plate of the heated lid or the plate itself breaks due to a mechanical

impact, the shards can lead to injuries, if handled.

ibidi GmbH

Tel.:

Fax:

E-Mail:  info@ibidi.de

+49 89 / 520 46 17 - 0

+49 89 / 520 46 17 - 59

For more information on our

products, and to download our

full catalog, please visit us at:

www.ibidi.com

Am Klopferspitz 19

82152 Planegg/Martinsried

Germany

© ibidi GmbH, V 1.0, 2015 / 02